Code of Practice for Proposed Mobile Phone Base Station Installations on University Premises

Introduction

Mobile phone base stations are low power (typically a few watts) radio transmitters with antennae mounted on towers, often positioned on top of buildings, or attached directly to buildings. High frequency radio waves are emitted into the area, or cell, around the base station. The radiofrequency (RF) power is usually radiated in conical fan-shaped beams that are essentially directed towards the horizon with a slight downward tilt. As such the radio wave levels below the antennae (e.g. at the base of the tower) will be considerably less than Exposure Limit Values (ELV) and indeed Action Levels (AC). Also, the beams spread out with distance and will be incident at ground level at distances greater than a few tens of metres from the antennae. The power levels at these distances are much reduced from those directly in front of the transmitter and will be typically many orders of magnitude below ELVs.

There are two ways by which health could be affected as a result of exposure to RF radiation. These are by thermal (or heating) effects, and possible non-thermal effects. At the current time the non-thermal effects are not completely understood by the international scientific community, however considerable research is on-going. The radiation transmitted from base stations does not have sufficient energy to damage DNA directly and thus cannot cause cancer. They may, however, give rise to other effects and there have been suggestions that they could impede the body’s ability to repair or destroy cancerous cells that have been caused by other agents.

In 1998, the International Commission on Non-Ionising Radiation Protection (ICNIRP) published guidelines covering exposure to RF radiation [Health Physics, 74 (4) 494-522]. These guidelines are based on the need to avoid known adverse health effects. In 2000, the UK governments Independent Expert Group on Mobile Phones, chaired by Sir William Stewart, published its report entitled ‘Mobile Phones and Health’ [ISBN 0 85951 450 1]. This report makes a number of conclusions and recommendations, which include:

- The balance of evidence to date suggests that exposure to RF radiation below ICNIRP guidelines does not lead to adverse health effects to the general public.

- However, they recommend that a ‘precautionary approach’ to the use of mobile phone technology be adopted until more detailed and scientifically robust information on any health effects becomes available.

- They recommend the establishment of clearly defined exclusion zones around base station antennae, which delineate areas within which ELVs may be exceeded.

In 2016, the UK adopted into law the EU Directive 2013/35 on the minimum health and safety requirements regarding the exposure of workers to the risks arising from physical agents (electro-magnetic fields). The resulting legislation is The Control of Electromagnetic Fields at Work Regulations 2016 [SI 2016/588] – also known as CEMFAWR 2016. The ACs and (the higher) ELVs detailed in the schedules of the regulations are largely based on the ICNIRP guidelines.

The use of mobile phone technology provides obvious benefits to the University of Liverpool and to society as a whole. However, the University must ensure that it complies with the CEMFAWR 2016 and that it adopts, where appropriate and reasonable, all the recommendations of the associated guidance.

This code of practice aims to provide a procedure for the screening of proposed base station installations on University buildings, and reassure all stakeholders that the safety issues associated with such installations are given careful and structured consideration prior to possible consent being given to the installer.

Procedure

The first point of contact within the University for any Installers proposing to erect a base station on a University building should be the (job title/name) in the Department of Facilities Management (FM). This person will make the manufacturer aware of the points listed below and provide them with a questionnaire below for completion. The information gathered on this questionnaire is required by the University’s Radiation Protection Office. FM will send this information to the University Radiation Protection Advisers (RPA) for their review.  On completion of this review, the RPA will report to FM on the radiation safety aspects of the proposed installation. With this report FM will decide on whether the installation should proceed based on the advice received. Once the antenna(e) have been erected, the RPA will visit the installation in order to carry out a safety inspection.  Any recommendations for further action resulting from this inspection will be reported to FM.

The installer must be made aware of the following points and, using the questionnaire shown in Appendix 1, provide the information requested therein:

1.	Location of Proposed Base Station: Which University building is being proposed for the installation? Information on the position of the antenna(e) on the roof of this building must also be supplied.

2.	Supporting Structures: Details of the structures that support the RF antenna(e) must be supplied e.g. height of tower, structural integrity etc.

3.	Exclusion Zones: The University of Liverpool defines an ‘exclusion zone’ as an area or areas surrounding an RF antenna within which the levels of electric field strength (V/m), magnetic flux density (T) and power density (W/m2) are above the Action Levels (AL) as detailed in the CEMFAWR 2016 for electromagnetic radiation exposure at the particular frequencies involved. No person should enter an exclusion zone whilst the antennae are transmitting. The installer must demonstrate that all reasonably practicable steps to restrict unauthorised access to exclusion zones e.g. barriers, position of aerials etc. have been taken. The installer will be asked to provide information on the extent and location of exclusion zones relating to their installations. They may also be asked to provide the results of a measurement survey of EMF exposure levels around their installations to verify the information on exclusion zones. 	The manufacturer must ensure that suitable warning signs are clearly displayed at the perimeter of all exclusion zones or at more appropriate positions around the supporting structure so long as these positions are not within an exclusion zone. A minimum of 3 warning signs must be erected around each exclusion zone. Each must be no smaller than A4 in size. They must bear the British Standard warning symbol for RF radiation and details of the wording must be provided to the University for reviewing prior to installation. The University reserves the right to erect additional warning/information signs as it sees fit.

4.	Antenna Details: Installers must endeavour to provide the University with details of the transmitters. Such technical information should include:

- Type of antenna e.g. sector, dish, etc. and number of antennae per supporting structure

- Transmitted frequency

- Maximum transmitted power (W) per antenna

- Maximum power density (W/m2) at ground level (or any area accessible by the public).

5.	Public Protection: The installer must supply a written declaration which clearly states that the levels of power density (W/m2) at ground level, or in adjacent buildings, or in any area accessible by the general public are below the ICNIRP general public reference levels for the particular radiofrequency involved.

Department of Facilities Management

INSTALLATION OF MOBILE TELEPHONE BASE STATION

Application for installation of mobile telephone base station and/or associated equipment on university property

Please complete the following:

- Location of Proposed Base Station State on which University building it is proposed to install the base station? Information on the position and orientation of the antenna(s) on the roof of this building must also be supplied

- Supporting Structure Provide details of the structures that support the RF antenna(s) e.g. height of tower, structural integrity etc.

- Exclusion Zones Please provide details of location and extent of exclusion zones. Note: The University of Liverpool defines an ‘exclusion zone’ as an area or areas surrounding an RF antenna within which the levels of electric field strength (V/m), magnetic flux density (T) and power density (W/m2) are above the Action Levels (AL) as detailed in the CEMFAWR 2016 for electromagnetic radiation exposure at the particular frequencies involved.

- Antenna(e) Details: If possible please provide the following information:

- Type of antenna e.g. sector, dish, etc. and number of antennae per supporting structure

- Transmitted frequency and maximum transmitted power (W) per antenna

- Maximum power density (W/m2) at ground level (or any area accessible by the public).

- Public Protection Please provide a written declaration which clearly states that the levels of power density (W/m2) at ground level, or in adjacent buildings, or in any area accessible by the general public are below the ICNIRP general public reference levels for the particular radiofrequency involved Confirm attached YES / NO

Name/Job Title: Company: Signature: Date: