Contents of a Typical Spillage Kit

‘Radioactive Hazard’ warning signs (perhaps one on a ‘A’ frame)

Plastic radioactive waste disposal bags

Tweezers

Pair of robust scissors

Disposable overshoes

Disposable lab coats

Disposable gloves

Marker pen or chalk

Absorbent tissues

Swabs e.g. cotton buds.

Small plastic vials or bags for putting swabs in

Sheet of address labels and a pencil

Safety spectacles

Roll of yellow and black ‘Radioactive Material’ adhesive tape.

Bottle of decontamination solution e.g. Decon 90.

Hand soap

Written contingency procedures for using the kit or for decontamination e.g. from the local safety rules.

Contamination monitor – suitable to the isotope being used (no need for H3)