Local Laser Safety Rules

Location: [Department, Building and Room Number].

| # Departmental Laser Supervisor | [Name] [Contact Details] |
| --- | --- |
| Laser Protection Adviser | Professor Pete Cole Radiation Protection Office Oliver Lodge Lab Tel: 0151 794 3467 |
| Person Responsible for the Work | [Name] [Contact Details] |
| Version and Date | [Version Number] [Date] |

# SCOPE

These local rules cover the use of the [description] laser located in [location]. They cover the [normal use, any alignment procedures plus maintenance/service operations]. They implement The University’s laser safety Code of Practice (which is in turn based on AURPO Guidance on the Safe Use of Lasers in Education and Research) at a practical level, and form part of University’s duties under Section 2(3) of the Health and Safety at Work Act 1974.

# DESCRIPTION

[It is useful to describe the laser system e.g. laser, delivery system, application. This may include the classification, type of laser, wavelength(s), maximum power, pulsed or continuous etc.].

# AUTHORISED USERS

Only persons who are adequately trained [state criteria and how achieved] and authorised as listed in the appendix to these local rules may [operate the laser/carry out maintenance on the laser/perform alignments].

# LASER CONTROLLED AREA (LCA)

[Describe the extent of any LCA and the conditions under which one exists. Any signs (permanent or temporary) used to indicate the extent of the LCA should be described here.]

## PROCEDURES

[The intention here is not to reproduce the operating manual (which should be referenced) but more to identify certain safety critical operations that need to be carried out. For example, connecting the interlocking systems to the laser, output power checks, special procedures for alignment. NOTE: most laser incidents happen during alignment or maintenance procedures.]

# SUMMARY OF HAZARDS AND PROTECTION MEASURES

[Make reference to the relevant risk assessment.]

# CONTINGENCY PLAN

[Essentially, the adverse incident procedure i.e. what to do if something goes wrong.]

# APPENDIX

[List of authorised and adequately trained users, who have signed a declaration which says that they have read and understood these local rules and relevant Risk Assessment.]