LOCAL RULES

GOVERNING THE USE OF

ULTRAVIOLET RADIATION

| June 2012 | Addition of AOR reference |
| --- | --- |
| November 2018 | Minor updates |

LOCAL RULES GOVERNING THE USE OF

ULTRAVIOLET RADIATION

The Control of Artificial Optical Radiation at Work Regulations 20101 came into force on 27 April 2010. They require that employee’s are protected from hazardous sources of artificial optical radiation. This includes Ultraviolet light. Natural light is excluded from this requirement.

For general information of the hazardous nature of any source of UV light you may contact the RPA, the manufacturer should also supply any information as they have a duty under section six of the Health and Safety at Work act 1974 to design, manufacture and supply articles which are safe for use, and should be able to provide information on how to manage the risks associated with such items.

It is recommended that all UV sources should be used in accordance with the recommendations of the Health Protection Agency document, A Non-Binding Guide to the Artificial Optical Radiation Directive 2006/25/EC.

Contents

Limits	4

Administration	4

General Protective Measures	5

Personal Protection	6

References	7

Limits

For all UV sources the effective radiant exposure on unprotected skin should not exceed 30Jm-2 within an 8 hour period. For UVB and UVC wavelengths (<315nm), the effective radiant exposure on unprotected eyes should not exceed 30Jm-2 within an 8 hour period. For UVA wavelengths (400-315nm), the total radiant exposure incident on unprotected eyes should not exceed 104Jm-2 within an 8 hour period2,3

Administration

1	The responsibility for UV safety rests with the Head of Department who should appoint a Departmental Non-Ionising Radiation Protection Supervisor (NIRPS) to assist in ensuring the day to day compliance with these Local Rules. The Head of Department may appoint the Departmental Safety Coordinator, the Departmental Radiation Protection Supervisor or another individual as he/she considers appropriate. This responsibility extends to ensuring that all members of his/her staff are aware of the hazards of UV radiation, and also of their responsibilities to both themselves and others within the laboratory. The NIRPS for this department is [name, phone number]

2	All UV workers within the University are subject to these Local Rules regarding UV sources.  Any University worker undertaking UV work in any establishment other than the University must also conform to the Local Rules in force at that establishment.

3	Any person, not being a member of staff or a student of the University, who wishes to undertake work with UV sources on University premises must at all times conform to these Local Rules.

4	The RPO must be notified of all new UV sources within a department so that a risk assessment may be made, and advice given on maximum permissible exposure in an eight hour period. Any recommended signs, systems of work, protective screens, interlocks etc. must be obtained and in position prior to the equipment being put into use.

5	Equipment emitting UV radiation must only be used by personnel who are adequately trained.

6	Where practicable, access to an area where equipment emits UV radiation should be limited to those persons directly concerned with its use.

7	All cases of erythema (redness of the skin) and any inflammation of the eyes must be reported to the Radiation Protection Office (RPO) immediately and to the University Safety Adviser on the standard University Accident Report Form. Both of these effects are caused mainly by radiation of wavelengths shorter than 315nm (UVB and UVC).

8	The NIRPS must maintain an inventory list of all UV equipment in their department and ensure that this is periodically reviewed, updated and appended to these Rules.

General Protective Measures

9	Hazard warning signs should be used to indicate the presence of ultra-violet radiation which may pose a risk to health.  Where necessary warning lights may be used to show when equipment is energised.  The RPO will advise departments on this matter.

10	All UV sources should be operated in sealed housings or behind screens.  Sealed housings may contain windows of suitably absorbent material e.g. acrylics, PVC, window glass.

11	If the removal of a housing cover may result in high exposure the URPO may recommend that interlocks should be fitted to the source housing in order to prevent excessive exposure.

12	The intensity of reflected radiation should be kept to a minimum, e.g. by avoiding light glossy surfaces and shiny metal objects in the vicinity of UV sources.

Personal Protection

13	All exposure times should be kept to a minimum. Distance and suitable shielding are also safety factors.

14	Some UV radiation is accompanied by visible (blue) light, so avoiding such light avoids UV exposure. However, the intensity (or brightness) of the visible component is no guide to the UV hazard. Note: Some UV sources DO NOT show a blue visible light component. These are particularly very hazardous. If in any doubt as to control measures for such sources the RPO should be consulted.

15	Portable UV sources, which are not mounted on a stand during use, should always be used in such a way that the radiation is directed away from the eyes.

16	Protective goggles, spectacles or face masks must always be worn if there is a potential eye hazard.  Skin on the hands and arms which may be exposed must be protected by wearing gloves and long sleeved clothing.

17	High pressure lamps are a potential explosive hazard.  Eyes should be protected against flying glass when removing or replacing lamps.

18.	Where sources are used which emit UV radiation with wavelengths of less than 242nm there must be adequate ventilation because of the hazard of ozone production.  An extractor system may be required in some cases.

References

1	The Control of Artificial Optical Radiations Regulations 2010

2	National Radiological Protection Board. "Advice on Protection against ultraviolet radiation" (Documents of the NRPB Vol. 13, No 3, 2002)

3	ICNIRP, “Guidelines on Limits of Exposure to Ultraviolet Radiation of Wavelengths between 180nm and 400nm (Incoherent Optical Radiation)”, Health Physics 87 (2), 2004

NOTE: The RPO has produced a number of generic risk assessments which can be downloaded from the University of Liverpool’s website (). This can be used as a starting point for producing ‘local’ risk assessments.

University of Liverpool

Radiation Protection Office

Issued – July 2003

Revised – September 2003

2nd Revision – October 2004

3rd Revision – November 2008

4th Revision – June 2012

5th Revision – November 2018